The patient transport trolley should be designed to securely carry monitors, a ventilator, syringe drivers or infusion pumps and reserve oxygen, and be compatible with the trolley mounting system in the transfer vehicle. If possible, most equipment should be mounted at or below the level of the patient to allow unhindered access to the patient. Cable tidies may help prevent tangling of wires. Vehicles for critical care transport in the UK are often standard land ambulances. However, specially adapted ambulances can offer a preferred layout, augmented gas and power supplies, and permanent storage of equipment. Specific standards are set for air ambulances stipulated by the Civil Aviation Authority in the UK. The transfer team also needs to be appropriately equipped. The benefits of a mobile phone, programmed with essential numbers for the transfer outweigh the potential risk of interference with medical equipment. Money should also be taken in case refreshments are required after a prolonged journey and for the occasional need to return to base by taxi.

……………………………………………………………………………………………………………………………………………………………………

El carro de transporte para pacientes debe estar diseñado para transportar de forma segura monitores, un ventilador, controladores de jeringas o bombas de infusión y reservar oxígeno, y ser compatible con el sistema de montaje del carro en el vehículo de transferencia. Si es posible, la mayoría de los equipos deben montarse en o por debajo del nivel del paciente para permitir un acceso sin obstáculos al paciente. Las ordenes de cable pueden ayudar a prevenir el enredo de los cables. Los vehículos para el transporte de cuidados intensivos en el Reino Unido son a menudo ambulancias terrestres estándar. Sin embargo, las ambulancias especialmente adaptadas pueden ofrecer un diseño preferido, gas aumentado y suministros de energía y almacenamiento permanente de equipos. Se establecen normas específicas para las ambulancias aéreas estipuladas por la Autoridad de Aviación Civil en el Reino Unido. El equipo de transferencia también debe estar equipado adecuadamente. Los beneficios de un teléfono móvil, programado con números esenciales para la transferencia, superan el riesgo potencial de interferencia con el equipo médico. El dinero también se debe tomar en caso de que se requieran refrigerios después de un viaje prolongado y para la necesidad ocasional de regresar a la base en taxi.